## Slide 1: ESRF User Meeting 2026 PyFAI tutorial – Grazing Incidence
Jérôme Kieffer
Edgar Gutiérrez Fernández
02/02/2026
Download the resources:
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 2: PyFAI tutorial - overview
02/02/2026 / 09:00 – 11:30
Each user should use its own computer (Windows, Linuc, MacOS)
1st third: data spottiness
2nd third: grazing incidence
3rd third: parallax effect
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 3: Fiber / Grazing Incidence experiments
Transmission / Grazing scattering
X-ray beam
Scattered cone
Probed length ~ mm
2D-Detector
Capillary
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 4: Fiber / Grazing Incidence experiments
Transmission / Grazing scattering
X-ray beam
Scattered cone
Probed length ~ mm
2D-Detector
Capillary
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 5: Fiber / Grazing Incidence experiments
Transmission / Grazing scattering
X-ray beam
Scattered cone
Probed length ~ nm
2D-Detector
Thin film
Substrate
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 6: Fiber / Grazing Incidence experiments
Transmission / Grazing scattering
X-ray beam
Scattered cone
2D-Detector
Thin film
Substrate
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 7: Powder / Grazing-incidence analysis
Transmission
  Powder (classic) analysis
  Intensity as a function of q-modulus
Grazing-Incidence
  Quasi-powder analysis
  q is split in two components
    Out-of-plane is the vertical axis (fiber), normal to the film surface
    In-plane is the averaged axis of the film surface plane
X-ray beam
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 8: Powder / Grazing-incidence analysis
Transmission
  Powder (classic) analysis
  Intensity as a function of q-modulus
Grazing-Incidence
  Quasi-powder analysis
  q is split in two components
    Out-of-plane is the vertical axis (fiber), normal to the film surface
    In-plane is the averaged axis of the film surface plane
X-ray beam
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git

## Slide 9: class FiberIntegrator
FiberIntegrator class
  Inherits methods from AzimuthalIntegrator
  Introduces methods for grazing-incidence data reduction
    integrate1d_fiber = integrate1d_grazing_incidence
    integrate1d_polar
    integrate1d_exitangles
    integrate2d_fiber = integrate2d_grazing_incidence
    integrate2d_polar
    integrate2d_exitangles
  Introduces three integration parameters
    Incident angle
    Tilt angle
    Sample orientation (8 possibilities)
X-ray beam
Tilt
Incidence

## Slide 10: ESRF User Meeting 2026 PyFAI tutorial
Jérôme Kieffer
Edgar Gutiérrez Fernández
02/02/2026
git clone https://gitlab.esrf.fr/edgargf/pyfai_tutorial.git